GUIDE SPECIFICATION FOR 1220-WHITE:  WATERBORNE RESIN-BASED PIGMENTED CURING COMPOUND

SECTION 03 39 23

MEMBRANE CONCRETE CURING

Specifier Notes: This guide specification is written according to the Construction Specifications Canada (CSC) format. The section must be carefully reviewed and edited by the architect or engineer to meet the requirements of the project. Coordinate this section with other specification sections and the drawings.

Specifier Notes: 1220-WHITE pigmented curing compound is a waterborne, resin-based curing compound containing suspended white pigment. It permits complete hydration of the cement by retaining at least 97% of the water present in the concrete at the time of application for at least seven days. The white pigment reflects the heat-producing rays of the sun, keeping concrete surfaces cooler and preventing excessive heat build-up and resultant thermal cracking during the curing period. 1220-WHITE is a reflective curing compound designed for exterior use on freshly placed concrete surfaces, both horizontal and vertical, particularly where protection from the sun’s heat is required. It is recommended for use on driveways, walls, sidewalks, concrete highways, runways, overpasses, bridges, tunnels, etc.

1.		General

1.1		SECTION INCLUDES

.1	Surface preparation.

.2	Application of resin-based, waterborne concrete curing compound.

1.2		RELATED SECTIONS

Specifier Notes: Edit the list of related sections as required for the project. List other sections dealing with work directly related to this section.

.1	Section 03 30 00 - Cast-in-Place Concrete.

1.3		REFERENCES

.1	AASHTO M 148 - Liquid Membrane Forming Compounds for Curing Concrete.

.2  	AASHTO M 148 - Liquid Membrane Forming Compounds for Curing Concrete.

.3	CRD C 300 – Specifications for Membrane Forming Compounds for Curing Concrete.

.4	OPSS 1315 – Material Specification for White Pigmented Curing Compounds for Concrete.

.5	Canada VOC Concentration Limits for Architectural Coatings Regulations.

1.4		SUBMITTALS

.1	Comply with Section 01 33 00 - Submittal Procedures.

.2	Submit manufacturer's product data and application instructions.

1.5		DELIVERY, STORAGE, AND HANDLING

.1	Deliver materials to site in manufacturer's original, unopened containers and packaging, with 	labels clearly identifying product name and manufacturer.

.2	Store materials in a clean, dry area in accordance with manufacturer's instructions.

.3	Keep product from freezing.

.4	Avoid direct contact with this product as it may cause mild-to-moderate irritation of the eyes and/or skin.

.5	Protect materials during handling and application to prevent damage or contamination.

.6	Do not mix with any compound containing solvent.

.7	Avoid aggressive mixing as foaming may occur.

1.6		ENVIRONMENTAL REQUIREMENTS

.1	Do not apply product when air, surface, or material temperatures are expected to fall below 4o C within four hours of expected application.

.2	Do not apply to frozen concrete.

.3	Do not use on dense or porous surfaces.

2.	 	Products

2.1		MANUFACTURER

.1	W. R. MEADOWS OF CANADA, 70 Hannant Court, Milton, Ontario, Canada  L9T 5C1.

(800) 563-3618. Fax (905) 878-4125. Website: www.wrmeadows.com.

2.2		MATERIALS

.1	Performance Based Specification:  Concrete curing compound shall be a water-base, resin-based, white pigmented, curing compound meeting maximum volatile organic compound (VOC) content limits as required by the Canada VOC Concentration Limits for Architectural Coatings Regulations.  Curing compound shall meet the following requirements:

.1	ASTM C309, Type 2, Class A.

.2	AASHTO M 148, Type 2, Class A.

.3	CRD C 300.

.4	VOC < 350 g/L.

.2	Proprietary Based Specification:  1220-WHITE Pigmented Concrete Curing Compound by W. R. MEADOWS OF CANADA.

3.		Execution

3.1		EXAMINATION

.1	Examine surfaces to receive curing compound. Notify architect or engineer if surfaces are not acceptable. Do not begin surface preparation or application until unacceptable conditions have been corrected.

3.2		SURFACE PREPARATION

.1	Protect adjacent surfaces not designated to receive curing compound.

.2 	Clean and prepare surfaces to receive curing compound in accordance with manufacturer's 		instructions.

.3 	Concrete surface water should be dissipated when used on new concrete.

.4	Concrete surfaces should not be marred by walking workers.

3.3		APPLICATION

.1	Ensure application equipment is clean and free of any previously used materials.

.2	Mix curing compound with gentle agitation prior to use.

.3	Apply curing compound in accordance with manufacturer's instructions.

.4	Spray on in one uniform film with a hand or power sprayer as soon as the surface water 			disappears from horizontal concrete surfaces.

.5	Use a Chapin 1949 spray nozzle that produces a flow of 1.90 L (½ gallon) per minute under 		0.276 MPa (40 psi) of pressure.

.6	Avoid puddling in low areas.

.7	Allow two hours for drying of curing compound.

3.4		PROTECTION

.1	Restrict foot traffic for at least four hours.

END OF SECTION