CRYSTALLINE WATERPROOFING
03 30 00

07 16 16

	Specifier Notes:  This guide specification is written according to the Construction Specifications Canada (CSC) format.  The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project.  Coordinate this section with other specification sections and drawings.


	Specifier Notes: ADI-CON CW PLUS is an integral waterproofing admixture for Portland cement-based concrete and mortars.  Using ADI-CON CW PLUS as a concrete admixture produces finished waterproof concrete that is also resistant against high hydrostatic pressure conditions.  It also increases workability and results in a higher compressive strength concrete.  ADI-CON CW PLUS is suitable as a replacement of, or for use in tandem with conventional waterproofing membranes and its chemicals are active for the service life of the concrete.  ADI-CON CW PLUS is a dry, free-flowing powder containing a blend of inorganic and organic chemicals, a small amount of sand and silica-based materials.  These materials react with lime generated by the hydration process of cement effectively “plugging” the capillaries, thus reducing porosity and making concrete watertight under water head pressure.

ADI-CON CW PLUS admixture can be used above and below grade.  Common applications include reservoirs, wastewater treatment plants, secondary containment units, tunnels and subway systems, underground vaults, foundations, parking structures, swimming pools, precise concrete components or any application that requires waterproof, durable concrete.
Manufacturer’s technical data sheets, standard details, Installation Guidelines and technical bulletins shall supplement the information contained herein.


PART 1 GENERAL
1.1 SECTION INCLUDES

.1
Surface preparation.

.2
Application of a hydrophilic, crystalline admixture that when added to the plastic mix will permanently waterproof hardened concrete by way of chemically promoting the growth of insoluble crystalline within the capillaries and pores of hardened concrete.
.3
The general conditions, supplementary conditions and general requirements of this document apply to general contractors, subcontractors, material suppliers and all other persons furnishing labour and materials under this section.
1.2 WORK INCLUDED

.1
Provide all labour, material, and equipment necessary to add cementitious crystalline admixture for the placement of concrete and cementitious materials as shown on the contract drawings and specified herein.
1.3 RELATED SECTIONS

	Specifier Notes:  Edit the following as required for the project and include other sections in relation to the work of this section.


.1
Section 03 15 13 - Waterstops.
.2
Section 03 15 16 - Concrete Construction Joints.

.3
Section 03 37 13 - Shotcrete.

.4
Section 03 40 00 - Precast Concrete.

.5
Section 07 90 00 Joint Protection.
1.4 REFERENCES

.1
AASHTO M 194 - Standard Specification for Chemical Admixtures for Concrete.

.2
ACI 212.3R-10, Chapter 15 for Permeability Reducing Admixtures:  Hydrostatic Conditions (PRAH).

.3
ACI 211 - Guide for Submittal of Concrete Proportions.

.4
ACI 305R - Hot Weather Concreting (1999).

.5
ACI 306R - Cold Weather Concreting (1988).

.6
ACI 308 - Standard Practice for Curing Concrete (1992 - Reapproved 1997).
.7
ACI 506R - Guide to Shotcrete.

.8
ASTM C 39/C 39M - Standard Test Method for Compressive Strength of Cylindrical Concrete Specimens (1999).
.9
ASTM C78 / C78M - Standard Test Method for Flexural Strength of Concrete (Using Simple Beam with Third Point Loading).

.10
ASTM 143/143M - Standard Test Method for Determining Slump of Fresh Concrete.

.11
ASTM C157/C157M - Standard Test Method for Length Change of Hardened Hydraulic Cement Mortar and Concrete.

.12
ASTM C231/231M - Standard Test for Determining Air Content of Freshly Mixed Concrete.

.13
ASTM C403 - Standard Test Method for Time of Setting of Concrete Mixtures by Penetration Resistance.
.14
ASTM C494/494M - Standard Specification for Chemical Admixtures for Concrete.

.15
ASTM C 666 - Standard Test Method for Resistance of Concrete to Rapid Freezing and Thawing (1997).
.16
BS EN 480-10:2009 - Admixtures for Concrete, Mortar and Grout – Test Methods: Part 10: Determination of Water Soluble Chloride Content.
.17
USACE CRD C48 - Water Permeability of Concrete.

.18
DIN 1048 - Water Permeability Depth of Penetration.

1.5 QUALITY ASSURANCE

.1
The addition of the crystalline admixture to the pre-approved mix design shall be by a concrete ready-mix supplier approved by the manufacturer.  Addition of the crystalline admixture by a non-approved supplier must be under direct supervision of a manufacturer’s representative, or an independent materials engineering company.
.2
The concrete supplier must ensure that the admixture is being stored, added and mixed according to the manufacturer’s written procedures.

.3
Waterproofing admixture shall hold a valid CE Certificate issued by an Approval Body appointed by the European Organization for Technical Approvals.

.4
Maintain a record of the batch numbers of all materials supplied for this project.
.5
Good practice recommends trial batching with admixture to determine air content, slump, plastic and hardened concrete properties in accordance with ACI 301.
.6
Source admixture and all accessories from a single manufacturer.
1.6 PRE-CONSTRUCTION MEETING

.1
Convene [one] [_____], week [____] prior to commencing work of this section, in accordance with Section 1.5 - Quality Assurance.

.2
Meeting to include all relevant parties required for successful installation of waterproofing products to verify installation methods and warranty requirements.

.3
Relevant parties may include the waterproofing installer, installers of adjacent work or work penetrating waterproofing, manufacturer’s representative and project engineer/architect.

1.7 SUBMITTALS

.1
Comply with Section 01 33 00 - Submittal Procedures.

.2
Submit manufacturer's product data and application instructions.

1.8 DELIVERY, STORAGE, AND HANDLING

.1
Deliver materials in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

.2
Store materials in a clean, dry area protected from direct sunlight, weather and other damage.
.3
Protect materials during handling and application to prevent damage or contamination.
PART 2 PRODUCTS
2.1 Manufacturer
.1
W. R. MEADOWS, INC., 300 Industrial Drive | PO Box 338, Hampshire, Illinois 60140-0338. (800) 342-5976. (847) 683-4500. Fax (847) 683-4544. Web Site www.wrmeadows.com.

2.2 MATERIALS AND PERFORMANCE REQUIREMENTS
.1
Integral Waterproofing Admixture:  ADI-CON CW PLUS manufactured by W. R. MEADOWS, is a proprietary mixture of Portland cement, quartz silica and active ingredients; when properly added to an approved mix design and delivered by an approved concrete producer, shall produce concrete that has the following characteristics:
.1
ACI 212.3R-10 Chapter 15 for Permeability Reducing Admixtures-Hydrostatic Conditions (PRAH):  Approved and meets all requirements.
.2
ASTM C494, Type S:  Approved and meets all requirements.
.3
AASHTO M 194, Type S:  Approved and meets all requirements.
.4
Bulk Density:  Approximately 1.4 grams per cubic centimeter.

.5
PH Content:  12.78.

.6
Chloride Content:  < 0.1.

.7
VOC Content:  0 g/L.

.8
Slump, ASTM C143:  Negligible effect, complies with ASTM C494, Type S.

.9
Air Content, ASTM C231:  Negligible effect, complies with ASTM C494, Type S.

.10
Setting Time-Initial and Final, ASTM C403:  Negligible effect, complies with ASTM C494, Type S.

.11
Compressive Strength, ASTM C39:  Equal or slightly higher than control.
.12
Flexural Strength, ASTM C78:  Equal or slightly higher than control.

.13
Relative Durability Factor, 300 Freeze-Thaw Cycles, ASTM C666:  98 percent.

.14
Length Change, ASTM C157:  Exceeds the requirements of ASTM C494, Type S.

.15
100 percent reduction of permeability, USACE CRD C 48:  No flow observed.
.16
Depth of Penetration, DIN 1048:  ≥ 81 percent reduction in water penetration depth.
.17
Crystal Growth:  Evidenced by scanning electron microscope photographs comparing crystalline admixture treated concrete to untreated concrete.

2.3 ACCESSORY MATERIALS

.1
Hydraulic Cement for stopping active water leaks: MEADOW-PLUG™ by W. R. MEADOWS.

.2
Thin Patching Mortar for thin repairs, including bug holes:  CEM-KOTE CW PATCH or MEADOW-PATCH™ T1 by W. R. MEADOWS.

.3
General Purpose Structural Repair Mortar for repairs or cants/coves:  CEM-KOTE CW PATCH or MEADOW-CRETE® GPS by W. R. MEADOWS.

.4
Concrete Curing Compound:  CRYSTALLUM or MED-CURE by W. R. MEADOWS.
.5
Hydrophilic Elastomeric Rubber Waterstop:  WATERSTOP HPW by W. R. MEADOWS.

.6
One-Component Polyurethane Sealant:  WATERSTOP LIQUID HPW by W. R. MEADOWS.
PART 3 EXECUTION
3.1 CONCRETE MIXING AND PLACING
Specifier Notes:  The crystalline waterproofing admixture normally does not affect the setting time.  However, some retardation or acceleration may occur depending on a number of factors including concrete mix design, batching procedures and temperature conditions.
.1
Concrete batching and mixing shall be prepared and placed in accordance with ASTM C94.

.2
Crystalline admixture shall be strictly added as per the manufacturer’s written instructions.

.3
Add crystalline admixture at the ready mix plant or onsite to the pre-approved mix design in the plastic state at a rate of 0.8 to 2 percent of the cementitious content and in accordance with manufacturers requirements.
.4
Mix crystalline admixture treated concrete for a minimum of 10 minutes.

.5
Ensure the Portland cement content is not less than 250 kilograms per cubic meter (420 pounds per cubic yard).

.6
Shotcrete shall be applied according to ACI 506R “Guide to Shotcrete” by an ACI-approved applicator who is qualified and has passed jobsite prequalification testing.

.7
Follow ACI guidelines when placing concrete in extreme temperature conditions; follow ACI 305R for hot weather concreting and ACI 306R for cold weather concreting.
.8
Moisture-cure concrete in accordance with ACI 308.  Alternatively, if moisture-curing is not possible, use a curing compound that complies with the moisture retention requirements of ASTM C309.
3.2 CONSTRUCTION JOINTS
.1
Install waterstops in all non-moving construction joints and penetrations.

.2
Detail all pipe penetrations in accordance with manufacturer’s recommendations.

.3
Install waterstops not less than 76.2 mm (3 inches) from all outside edges.
.4
Repair all ties holes with structural repair mortar.
3.3 CRACKS AND DEFECTS

Specifier Notes:  This section includes a procedure for leaking cracks that do not self-seal in the time required by other construction or are larger than 0.5 mm (20 mils).
.1
Mechanically rout cracks and compromised material up to 25 mm (1-inch) wide and 38 mm (1.5 inches) deep.  Rout out areas in a “U” shaped while avoiding “V” shaped removal shapes.

.2
Apply hydraulic cement mortar to stop the active water leaks as per manufacturer’s instructions.
.3
Coat the hydraulic cement mortar and surrounding concrete with flexible cementitious coating once the active water leak has been stopped.
3.4 FIELD QUALITY CONTROL
.1
Provide manufacturer’s site services consisting of product recommendations and site visits to verify batching and installation procedures when required by manufacturer.
Specification Note:  Not all applications will be possible or relevant to water testing.  Measure change in water level to determine if leaks exist if they cannot be directly observed.  Delete Part 3.4.2 and .3 if not required.

.2
Where applicable, test water retention structures capable of holding water for 24 hours after curing period.
.3
Repair identified leaks and repeat water-leakage testing until structure is watertight.

3.5 CLEANING AND PROTECTION

.1
Protect waterproofed concrete from damage during construction.

.2
Cure concrete a minimum of 28 days before applying paint or other coatings.  Surface preparation and application of any paint or coating shall follow those manufacturer’s guidelines.
3.6 SITE CLEANUP

.1
Remove all excess and waste materials from the jobsite.
.2
Ensure all surrounding jobsite areas are free of debris.

END OF SECTION
Project Name 2/9/2026
07 16 00-4
Cementitious and Reactive Waterproofing

