COLD FLUID-APPLIED WATERPROOFING

07 14 16

HIGH-BUILD, 2-PLY REINFORCED WATERPROOFING SYSTEM

Revision Date: July 18, 2025

Specifier Notes: This guide specification is written according to the Construction Specifications Canada (CSC) format. The section must be carefully reviewed and edited by the architect or engineer to meet the requirements of the project. Coordinate this section with other specification sections and the drawings.

Specifier Notes: HYDRALASTIC 836 is a cold-applied, solvent-free, single-component waterproofing compound. It does not shrink, has a low volatile organic compound (VOC) content with very low odour. It will not crack in extreme cold or slump due to softening during high application temperatures. HYDRALASTIC 836 is used on interior or exterior concrete and masonry surfaces where protection from water intrusion is required. The product can be used for both above and below-grade applications. HYDRALASTIC 836 is excellent for horizontal and vertical applications, such as waterproofing plaza decks, concrete split-slabs, planter boxes and foundations. The product is primarily intended for positive-side applications.

PART 1 GENERAL

  - SECTION INCLUDES

.1	Surface preparation.

.2	Application of single-component, cold-applied, liquid waterproofing membrane.

  - RELATED SECTIONS

Specifier Notes: Edit the list of related sections as required for the project. List other sections related with work involved in this section.

.1	Section 03 30 00 – Cast-in-Place Concrete.

.2	Section 04 20 00 – Unit Masonry.

.3	Section 07 13 26 – Self-Adhering Sheet Waterproofing.

.4	Section 07 21 00 – Thermal Insulation.

.5	Section 07 60 00 – Flashing and Sheet Metal.

.6	Section 07 92 00 – Joint Sealants.

.7	Section 33 46 13 - Foundation Drainage.

  - REFERENCES

.1	ASTM C1250 – Standard Test Method for Nonvolatile Content of Cold Liquid-Applied Elastomeric Waterproofing Membranes.

.2	ASTM C836 – Standard Specification for High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane for Use with Separate Wearing Course.

.3	ASTM D412 – Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers – Tension.

.4	ASTM D2240 – Standard Test Method for Rubber Property—Durometer Hardness.

.5	ASTM D2369 – Standard Test Method for Volatile Content of Coatings.

.6	ASTM E96 – Standard Test Methods for Water Vapour Transmission of Materials.

  - SUBMITTALS

.1	Comply with Section 01 33 00 - Submittal Procedures.

.2	Submit manufacturer's product data and application instructions.

  - QUALITY ASSURANCE

.1	Installer Qualifications:

.1	Use an experienced installer and adequate number of skilled personnel who are thoroughly trained and experienced in the application of fluid applied waterproofing membranes.

.2	Obtain waterproofing materials from a single manufacturer regularly engaged in manufacturing the product.

.3	Provide products which comply with all state and local regulations controlling use of volatile organic compounds (VOCs).

  - PRECONSTRUCTION MEETING

.1	Preconstruction Meeting:  Convene [one] [______] week prior to commencing work of this section, in accordance with Section [XX XX XX] – Project Meetings.

  - MOCK-UPS

.1	Prior to installation of waterproofing membrane, apply waterproofing membrane to 9.3 square metres (100 square feet) of deck or wall to demonstrate surface preparation, crack and joint treatment, corner treatment, thickness, and to demonstrate tie-ins with adjoining construction, and other termination conditions, as well as qualities of materials and execution.

.2	Cooperate and coordinate with the owner's inspection and testing agency.  Do not cover any installed waterproofing membrane unless it has been inspected, tested and approved.

  - DELIVERY, STORAGE, AND HANDLING

.1	Deliver materials to site in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

.2	Store materials in a clean, dry area in accordance with manufacturer's instructions.

.3	Store at temperatures between 4 to 21 degrees C (40 to 70 degrees F).

.4	Protect materials during handling and application to prevent damage or contamination.

  - ENVIRONMENTAL REQUIREMENTS

.1	Product not intended for uses subject to abuse or permanent exposure to the elements.

.2	Do not apply membrane when air, material, or surface temperatures are expected to fall below -7° C within four hours of completed application.

.3	Do not apply membrane if rainfall is forecast or imminent within 12 hours.

.4	Do not apply waterproofing membrane to any surfaces containing frost.

.5	Consult manufacturer for applications to green concrete.

PART 2	 PRODUCTS

  - MANUFACTURER

- W. R. MEADOWS®, INC., PO Box 338, Hampshire, Illinois 60140-0338. (800) 342-5976. (847) 683-4500. Fax (847) 683-4544. Website: www.wrmeadows.com.

  - MATERIALS

- Waterproofing Membrane: single-component, cold-applied, solvent-free, non-shrink, liquid waterproofing membrane.

.1	Performance Based Spec:  Waterproofing membrane shall have the following properties as determined by laboratory testing:

.1	Solids content by weight, ASTM C1250:  98%.

.2	Tensile Strength, ASTM D412:  100 psi.

.3	Elongation at break, ASTM D412:  425%.

.4	Water Vapour Transmission, ASTM E96 (Method BW):  0.1 perms.

.5	Shore 00 Hardness, ASTM D2240:  57.

.6	VOC, ASTM D2369:  36 g/L.

.2	Proprietary Based Spec:

.1	HYDRALASTIC 836 Waterproofing Membrane by W. R. MEADOWS.

  - ACCESSORIES

.1	Reinforcement Fabric:  6” (150 mm) wide reinforcing fabric for corners, crack, and joint treatment.

.1	REINFORCING FABRIC HCR by W. R. MEADOWS.

.2	Reinforcing Fabric for High Build Applications:  REINFORCING FABRIC HCR by W. R. MEADOWS.

.3	Reinforced Joint Tape for outside corners subject to backfill.

1.	PRECON® FABRIC TAPE by W. R. MEADOWS.

.4	Termination Sealant: BEM by W. R. MEADOWS

.5	Concrete Repair Materials:  MEADOW-PATCH® 5 and 20 Concrete Repair Mortars.

.6	Waterproofing Protection Course:

  - PC2R PROTECTION COURSE, rolled modified asphalt sheet.

  - PROTECTION COURSE (VIBRAFLEX PC), 3.2 mm mineral-fortified asphaltic rigid sheet.

  - PERMINATOR 10 mil, polyolefin sheet.

.7	Rolled Matrix Drainage Panel: MEL-DRAIN™.

PART 3 EXECUTION

  - EXAMINATION

.1	Examine surfaces to receive membrane.  Notify architect if surfaces are not acceptable.  Do not begin surface preparation or application until unacceptable conditions have been corrected.

  - SURFACE PREPARATION

.1	Protect adjacent surfaces not designated to receive waterproofing.

.2	Clean and prepare surfaces to receive waterproofing in accordance with manufacturer's instructions.

.3	Do not apply waterproofing to surfaces unacceptable to manufacturer.

.4	Clean concrete surfaces so they are free of all coatings, dirt, oil, paints and any other contaminants.

.5	Patch all holes and voids and smooth out any surface misalignments.

.6	Remove and patch all concrete form ties.

Specifier Notes:  For porous substrates where air and possible moisture release may cause pinhole or blister problems to occur in the applied membrane, priming the substrate prior to application of HYDRALASTIC 836 is recommended.  Contact a W. R. MEADOWS representative for priming recommendations.  Priming is recommended to remove trapped air/vapor from the substrate and promote a better bond with the substrate.  REZI-WELD LV or REZI-WELD LV STATE can be used as the epoxy primer.  Depending on ambient conditions, priming requires approximately two to four hours at 22 degrees C (72 degrees F), 50 percent relative humidity to become tack-free.  If priming is not necessary, delete this section.

.7	Treatment of Existing Cracks And Static Joints

.1	Identify and install termination sealant in all cracks and all non-structural joints.

.2	Apply a 1.5 mm (60 mil) coat 25 cm (10 inches) wide of the fluid applied waterproofing over cracks and joints.

.3	Immediately embed a 15 cm (6-inch) wide section of non-woven reinforcing fabric onto the membrane, centered over the crack, with 5 cm (2 inches) of membrane evident on each side of fabric.  Broom or brush the fabric to ensure full membrane engagement.

.4	Completely cover the fabric with a second coat of the fluid applied membrane with a minimum 0.75 mm (30 mils) of membrane, once the prior application has firmed up.

.5	Alternatively, self-adhering reinforcement tape may be used in lieu of the primary cold fluid-applied membrane and reinforcement fabric.

.8	Treatment of Inside And Outside Corners

.1	Apply a minimum 2 cm (¾ inch) fillet of termination sealant to all static inside corners.

.2	Apply a 1.5 mm (60 mil) coat 25 cm (10 inches) wide of the fluid applied waterproofing at the center point of inside and outside corners.

.3	Immediately embed a 15 cm (6-inch) wide section of non-woven reinforcing fabric onto the membrane, with 2 inches of membrane evident on each side of fabric.  Broom or brush the fabric to ensure full membrane engagement.

.4	Completely cover the fabric with a second coat of the fluid applied membrane with a minimum 0.75 mm (30 mils) of membrane, once the prior application has firmed up.

.5	Alternatively, self-adhering reinforcement tape may be used in lieu of the primary cold fluid-applied membrane and reinforcement fabric.

  - APPLICATION

.1	Apply waterproofing membrane system in accordance with manufacturer's instructions.

.2	Mix membrane with a paddle mixer prior to application while avoiding agitation and air entrainment.

.3	Apply base layer of membrane by trowel, flat-blade squeegee, or roller, at a minimum coverage rate of 2.4 square meters per 3.78 liters (26 square feet per gallon) to achieve a minimum thickness of 1.5 mm (60 mils).

.4	Immediately embed a layer of reinforcement fabric into membrane while still wet, ensuring a minimum 6 mm (¼-inch) overlap at all side and end laps.

.5	Install the second layer of waterproofing membrane at a minimum of 1.5 mm (60 mils).  Ensure complete coverage of reinforcement fabric with the second application to achieve a minimum total build thickness of 3 mm (120 mils) for the waterproofing system.

Specifier Notes: When used for both protection and drainage, polymeric-backed drainage panels shall be used. Where dedicated rolled or rigid protection course sheets are used, drainage panels applied outboard of these can be the non-polymeric-backed versions. Delete the accessory or accessories in Part 3.3.6 that are not used.

.6	Upon curing of the 3 mm (120-mil) waterproofing system, spot-adhere [drainage panel] or [rolled modified asphalt protection sheet] or [mineral-fortified asphaltic sheet] or [polyolefin sheet] course with primary cold fluid-applied waterproofing or manufacturers termination sealant.

  - PROTECTION

.1	Protect completed waterproofing membrane system and protection course materials prior to backfilling or placement of overburden finish.

.2	Backfill immediately using care to avoid damaging waterproofing membrane system.

END OF SECTION